## Sheet1
Variable |  |  |  |  | Datatype | Description
session |  |  |  |  | struct | One element per user for all sittings and reference measurements
| user |  |  |  | string | Name prefix for skin filenames
| folder |  |  |  | string | User\date
| date |  |  |  | datetime | YYYYMMDD
| starttime |  |  |  | double | File datenum timestamp for first skin file of session
| endtime |  |  |  | double | Filedatenum timestamp for last skin file of session
| processingscript |  |  |  | struct | The contenct of this structure shouldn't change unless we decide to use different processing
|  | name |  |  | string | Sit2pdscenterbin2.m, uses centerbin2.m to calculate pds
|  | samplerate |  |  | double | 125 for now
|  | recordtime |  |  | double | 10 for now assuming a 60s sitting
|  | avptime |  |  | double | number of spectra to average in chunks, 1 for now
|  | avpwavelength |  |  | double | number of pixels to average in chunks, 4 for now
| refmeteruse |  |  |  | logical | 1x5 array of 0,1. assumes order of CGM, Ultra, Lite, Oxi, Verio
| sitting |  |  |  | struct | One entry per skin measurement
|  | dark |  |  | double | 1x257, 1 row from meandark matrix. Last col is datenum of dark file
|  | darkinfo |  |  | struct
|  |  | fileinfo |  | struct
|  |  |  | name | string
|  |  |  | folder | string
|  |  |  | date | string
|  |  |  | bytes | double
|  |  |  | isdir | logical
|  |  |  | datenum | double
|  |  | spectracount |  | double | number of spectra in the dark file that were used to compute meandark
|  |  | firstpixel |  | double | first col of pixel data in dark file, usually 9 or 10
|  |  | dark2skintimedelta |  | double | time between dark and skin file time stamps in minutes
|  | skininfo |  |  | struct
|  |  | fileinfo |  | struct
|  |  |  | name | string
|  |  |  | folder | string
|  |  |  | date | string
|  |  |  | bytes | double
|  |  |  | isdir | logical
|  |  |  | datenum | double
|  |  | spectracount |  | double | number of sepctra in the skin file
|  |  | firstpixel |  | double | first col of pixel data in skin file, usually 9 or 10
|  | sitdatapersec |  |  | struct
|  |  | stats |  | struct | These are produced by the centerbin2.m script
|  |  |  | initialfreq | double | Fundamental pulse frequency using all spectra in recordtime
|  |  |  | initialamp | double | Fundamental pulse frequency amplitude using all spectra in recordtime
|  |  |  | initialphase | double | Fundamental pulse frequency phase angle
|  |  |  | initialperiod | double | 1/initialfreq
|  |  |  | maxfreq | double | Maximum fundamental frequency found searching for bin center
|  |  |  | minfreq | double | Minimum fundamental frequency found searching for bin center
|  |  |  | minamp | double | Minimum fundamental frequency amplitude found searching for bin center
|  |  |  | peakind | double | Element of peakp that has max fundamental frequency amplitude
|  |  |  | startind | double | Starting row index of the recordtime data for bin centering
|  |  |  | stopind | double | Ending row index of the recordtime data for bin centering
|  |  |  | fundfreq | double | Fundamental frequency found after bin centering
|  |  |  | fundamp | double | Fundamental frequency amplitude found after bin centering
|  |  |  | ftfundid | double | Element of the Fundamental frequency of the FFT using startind/stopind of recordtime
|  |  |  | winsamps | double | Number of rows of recordtime used for bin centering
|  |  |  | wintime | double | Time equal to winsamps. It will be equal to or less than recordtim
|  |  |  | winpulses | double | Estimated number of pulse cycles of fundamental frequency contained in winsamps
|  |  |  | phangles | double | Phase angles of fundamental frequency for each pixel after bin centering
|  |  |  | amps | double | Fundamental frequency amplitude * 1.2 to match Peak 2 Peak
|  |  |  | dc | double | Mean pixel values of winsamps
|  |  |  | nend | double | Initialperiod *1.2, max number of samples to adjsut start and end indicies by
|  |  | pds |  | double | pds absorbance for the sitting, log10((dc+amps)/(dc-amps))
|  |  | peakp |  | double | array of [start index, end index, fund freq, fund amp, fft fund freq index] for all bin centering combinations
|  | pds |  |  | double | pds absorbance for the sitting, log10((dc+amps)/(dc-amps)) with last column being spectrum timestamp. Session, sitting, sitting spectrum count and timestamp are last 4 cols
|  | pds01 |  |  | double | pds with min value subtracted, then scaled for pixel 1 to be equal to 1
| sitabs |  |  |  | double | pds01 absorbance for the sitting. Use this for Glucose Callibration/Validation
| sitabsorg |  |  |  | double | pds absorbance for the sitting
| spectimes |  |  |  | double | time stamps of the session spectra
| glu |  |  |  | double | reference meter glucose values, weighted splined to the session timestamps. 1 col per meter type
| glufitinfo |  |  |  | struct | data used to perform weighted spline of referece meter data (using splinapp.m)
|  | fsstartid |  |  | double | first row index to use of the array of reference meter valuse
|  | fsendid |  |  | double | last row index to use of the array of reference meter valuse
|  | fsid |  |  | double | row indicies to use of the array of reference meter values
|  | splinappweight |  |  | double | error weight to be used in weighted spline
| refmeternames |  |  |  | cell array | array of ref meter names, same length as refmeteruse